## Architecture Design Review
ARCHITECTURE DESIGN REVIEW CHECKLIST
STATUS | DESIGN ELEMENT | APPROVED BY | DATE APPROVED | COMMENTS | STATUS
| SITE PLAN |  |  |  | Not Started
In Progress |  |  |  |  | In Progress
Complete |  |  |  |  | Complete
N/A |  |  |  |  | On Hold
| BUILDING PLAN |  |  |  | Overdue
In Progress | Construction blueprints completed |  |  |  | N/A
Overdue | Elevations documentation complete (including all exterior walls)
Not Started | Relationship of openings in the buildings: Features such as balconies, bays, porches, covered entries, overhead structures, awnings, changes in building facade and roofline alignment that provide shadow relief are documented, and their relationships are explained.
On Hold | Detailed exterior specifications
LANDSCAPE PLAN
Shows location and size of plants
Detail any of the following:
– Mounding/berms
– Grading & drainage
– Water features
– Fences
– Freestanding exterior lights
– Driveways
– Walkways
SQUARE FOOTAGE
HEIGHT REQUIREMENTS
EXTERIOR FINISHES
Document material (stucco, stone, brick, fiber cement siding, or wood siding)
All metal utilized is painted to match or blend with surrounding metals and roofing materials
Walls are painted
Accent siding color
Window / trim color
Garage / front door color
MASONRY
Materials documented
Material shall wrap a minimum of 3 feet around all outside corners
Masonry color
WINDOW + DOOR FRAMES
Wood frames and vinyl
Manufacturer and color
Large gable ends include projections or recesses (not just windows)
ROOF
GUTTERS + DOWNSPOUTS
Designed as a continuous architectural feature
Exposed gutters and downspouts are colored to fit with other style and coloring
FENCE
Should not exceed a height of 6 feet
Design and location have been approved in advance
Fencing is within land boundary
LANDSCAPING DETAIL
Landscaping will be installed within 30 days of home completion
Sprinkler system
Landscaping is installed to cover 100% of property
Landscaping does not exceed land boundary (onto sidewalks/roads)
Sod installed on all areas not designated as planting beds or tree locations
Minimum planting requirements
EXTERIOR LIGHTING
GARAGES
Garage doors are paneled
Use of individual garage doors required for any bay exceeding 20’ in width
Generally, garage doors are not to exceed 10’ in height
Interior finish shall be taped, sanded, and painted
Size meets design requirements
Windows encouraged
CLICK HERE TO CREATE IN SMARTSHEET

## - Disclaimer -
Any articles, templates, or information provided by Smartsheet on the website are for reference only. While we strive to keep the information up to date and correct, we make no representations or warranties of any kind, express or implied, about the completeness, accuracy, reliability, suitability, or availability with respect to the website or the information, articles, templates, or related graphics contained on the website. Any reliance you place on such information is therefore strictly at your own risk.