## Hotel Maintenance Checklist
Hotel Maintenance Checklist Template
Property Name
Inspected By | Name
Date | MM/DD/YY
Use the checklist to document any issues found during the inspection and the actions required to resolve them. Enter start date in first Dates column below, and remainder of weekly dates will auto-populate.
Tasks | Frequency | Dates | [6 empty] | Inspection Notes / Follow-Up Actions
|  | 2035-11-30 | 2035-12-01 | 2035-12-02 | 2035-12-03 | 2035-12-04 | 2035-12-05 | 2035-12-06
AREA: Exterior Areas | [8 empty] | Notes
Inspect building façade for cracks, peeling paint, or damage. | Daily | bar: 2035-11-30 to 2035-12-06
Check roof for leaks, missing tiles, or debris. | Daily | bar: 2035-11-30 to 2035-12-06
Ensure proper lighting in parking lots and pathways. | Weekly | bar: 2035-12-01
Inspect signage for visibility and damage. | Daily | bar: 2035-11-30 to 2035-12-06
Verify that gutters and downspouts are clear of debris. | As needed
AREA: Lobby and Public Areas | Biannually
Test HVAC systems for proper operation and comfort levels. | Daily | bar: 2035-11-30 to 2035-12-06
Ensure all lighting fixtures are functional (replace bulbs as needed). | Daily | bar: 2035-11-30 to 2035-12-06
Check elevators for smooth operation and safety compliance. | Weekly
Inspect flooring for cracks, loose tiles, or trip hazards. | Weekly
Verify fire extinguishers are accessible and within expiration date. | Monthly
AREA: Guest Rooms | Daily | bar: 2035-11-30 to 2035-12-06
Test all electrical outlets, switches, and lamps. | Daily | bar: 2035-11-30 to 2035-12-06
Inspect air conditioning/heating units for functionality. | Weekly | bar: 2035-12-03
Check plumbing in bathrooms (faucets, showerheads, toilets). | Daily | bar: 2035-11-30 to 2035-12-06
Verify door locks, peepholes, and latches are secure. | Quarterly
Inspect windows and ensure they open/close properly. | Annually
Test smoke detectors and carbon monoxide detectors. | Biannually
AREA: Kitchen and Food Service Areas | As needed | bar: 2035-12-05
Inspect kitchen appliances for cleanliness and functionality. | Daily | bar: 2035-11-30 to 2035-12-06
Test refrigerators and freezers for proper temperature. | Weekly | bar: 2035-12-03
Check exhaust fans and hoods for cleanliness and operation.
Verify fire suppression systems are up-to-date and functional. | Daily | bar: 2035-11-30 to 2035-12-06
Ensure floor drains are clear and functioning. | Daily | bar: 2035-11-30 to 2035-12-06
AREA: Housekeeping and Laundry | Daily | bar: 2035-11-30 to 2035-12-06
Test washing machines and dryers for efficiency and safety. | Daily | bar: 2035-11-30 to 2035-12-06
Check housekeeping carts for wear and missing items. | Daily | bar: 2035-11-30 to 2035-12-06
Inspect storage areas for proper organization and cleanliness. | As needed
Verify inventory of cleaning supplies and restock if necessary. | As needed | bar: 2035-11-30
AREA: Pool and Recreation Areas | As needed
Test pool water for proper chemical balance and clarity. | As needed
Check pool filters, pumps, and heaters for operation. | As needed
Inspect safety equipment (life rings, signage, etc.). | As needed
Verify that furniture is clean and free of damage. | As needed
AREA: Maintenance Room and Tools | As needed
Ensure tools are properly stored and in working order. | As needed
Verify that maintenance logs are up-to-date. | As needed
Check inventory of spare parts and supplies. | As needed
AREA: Emergency Systems | As needed
Test fire alarm and sprinkler systems. | As needed
Inspect emergency exits and ensure they are unobstructed. | As needed
Verify backup generators are operational and fueled. | As needed | bar: 2035-12-04
Check signage for emergency procedures and exit routes. | As needed | bar: 2035-12-06
CLICK HERE TO CREATE IN SMARTSHEET

## Frequency Key - DO NOT DELETE
FREQUENCY
Daily
Weekly
Monthly
Quarterly
Biannually
Annually
As needed

## - Disclaimer -
Any articles, templates, or information provided by Smartsheet on the website are for reference only. While we strive to keep the information up to date and correct, we make no representations or warranties of any kind, express or implied, about the completeness, accuracy, reliability, suitability, or availability with respect to the website or the information, articles, templates, or related graphics contained on the website. Any reliance you place on such information is therefore strictly at your own risk.