## Apartment Snag List
Apartment Snag List Template
Apartment Snag List for Tenant Transition
Property Address
Date of Tenant Move-In
Date of Tenant Move-Out
Property Checklist |  | Cost for Damage / Required Repairs | Condition at Lease Start | Condition at Lease End | Inspection Notes / Follow-Up Actions
Entryway and Doors |  | 0 | New | Excellent | Notes
Inspect door condition (scratches, dents, paint) | X | 0 | Good | Good
Test locks, handles, and deadbolts for smooth operation | X | 0 | Fair | Fair
Check weather stripping and door seals |  | 0 | New | Excellent
Confirm peephole and security features work | X | 0 | Not Applicable | Not Applicable
0
Living Room |  | 0
Examine walls for cracks, stains, or holes | X | 0
Check ceiling for stains or water damage | X | 0
Inspect flooring (carpet, wood, tile) for stains, wear, or damage |  | 0
Test all light fixtures and switches |  | 0
Ensure windows open/close and lock properly; check screens |  | 0
Kitchen |  | 0
Inspect cabinets and drawers for damage and cleanliness | X | 0
Check countertops for stains, chips, or burns |  | 0
Test sink and faucet for leaks and drainage | X | 0
Confirm all appliances (fridge, stove, oven, microwave, dishwasher) work |  | 0
Examine floor for damage or stains |  | 0
Test smoke detectors and carbon monoxide detectors |  | 0
Bathroom(s) |  | 0
Test toilet for flushing and leaks | X | 0
Check sink, faucet, and shower for leaks, pressure, and drainage |  | 0
Inspect tiles, grout, and caulking for mold or cracks |  | 0
Ensure mirrors and cabinets are secure and clean | X | 0
Test extractor fan | X | 0
Bedroom(s) |  | 0
Inspect walls and ceilings for marks or damage | X | 0
Check floors for stains or damage | X | 0
Test all lights, outlets, and switches |  | 0
Ensure windows and locks work |  | 0
Inspect closets/wardrobes for function and cleanliness | X | 0
Utility / Laundry Area |  | 0
Test washer and dryer (if present) |  | 0
Inspect water heater for leaks |  | 0
Check utility connections |  | 0
Check heating/cooling systems |  | 0
General and Safety |  | 0
Test smoke and CO detectors; replace batteries if needed |  | 0
Inspect all power outlets and switches |  | 0
Ensure property is clean and free of odors |  | 0
Remove all previous tenant belongings and trash |  | 0
Check for signs of pests |  | 0
Exterior / Balcony / Patio |  | 0
Inspect railings and flooring for safety and cleanliness |  | 0
Test doors and locks |  | 0
0
0
0
0
Documentation and Handover |  | General Assessment
Take timestamped photos of each room and any defects | X | Notes on security deposit, additional details …
Record meter readings (gas, electricity, water) | X
Collect and label all keys, remotes, and access cards
Provide new tenant with snag list and inventory | X
Have both outgoing and incoming tenants (if possible) sign off on the snag list
Outgoing Tenant Signature
Incoming Tenant Signature
CLICK HERE TO CREATE IN SMARTSHEET

## Condition Key - DO NOT DELETE
Condition
New
Excellent
Good
Fair
Poor
Damaged
Not Applicable

## - Disclaimer -
Any articles, templates, or information provided by Smartsheet on the website are for reference only. While we strive to keep the information up to date and correct, we make no representations or warranties of any kind, express or implied, about the completeness, accuracy, reliability, suitability, or availability with respect to the website or the information, articles, templates, or related graphics contained on the website. Any reliance you place on such information is therefore strictly at your own risk.