## New Build Snag List
New Build Snag List Template
1. Preparation
Timing
Conduct inspections during daylight hours for visibility.
Tools
Bring a flashlight, measuring tape, notepad, camera, and a spirit level.
Documents
Keep floor plans and specifications handy for reference.
2. Exterior Inspection
Roof
Are roof tiles securely fixed and aligned?
Images | Comments
Check for cracked or missing tiles
Images | Comments
Is the roof ridge capping properly sealed?
Images | Comments
Inspect the flashing around chimneys and vents for watertightness
Images | Comments
Are the gutters securely attached and clear?
Images | Comments
Check for signs of roof leaks or water damage
Images | Comments
Are soffits straight and free of gaps? Are soffits fitted and free from debris?
Images | Comments
Is there adequate ventilation in the roof space?
Images | Comments
Are downspouts properly connected and clear?
Images | Comments
Inspect roof underlay for signs of wear
Images | Comments
Are roofing nails correctly fastened?
Images | Comments
Check for signs of moss or fungus
Images | Comments
Masonry
Cracks, uneven mortar, or discoloration in brickwork
Images | Comments
Any issues with locks and hinges
Images | Comments
Cracks, uneven mortar, or discoloration in brickwork
Images | Comments
Any gaps or drafts in seals
Images | Comments
Confirm ground slopes away from the house (min 2% gradient)
Images | Comments
3. Interior Inspection
Walls and Ceilings
Cracks, bubbles, or uneven finishes in plaster
Images | Comments
Drips, streaks, or unpainted areas
Images | Comments
Corners: Use a spirit level to check for squareness
Images | Comments
Floors
Place a ball on the floor to check levelness; if it rolls, note slope
Images | Comments
Cracks, loose grout, or uneven edges in tiles
Images | Comments
Squeaks or gaps in floorboards
Images | Comments
Doors
Doors close fully without sticking
Images | Comments
Even spacing or gaps around frames
Images | Comments
4. Systems and Finishes
All sockets checked
Images | Comments
Any issues with light switches and fixtures
Images | Comments
Taps tested for water pressure and leaks
Images | Comments
Drainage issues with toilet
Images | Comments
Thermal imaging to check heat distribution for radiators
Images | Comments
Heat distribution for radiators
Images | Comments
5. Kitchen and Bathrooms
Alignment, handles, and scratches of cabinets
Images | Comments
Cracks, loose grout, or uneven edges in tiles
Images | Comments
5. Kitchen and Bathrooms
Alarms and battery life of smoke/CO detectors
Images | Comments
Securely installed handrails
Images | Comments
Reporting Issues
Note: All issues should be reported to the builder within 2 weeks. Please record a requested deadline for completing fixes.
CLICK HERE TO CREATE IN SMARTSHEET

## - Disclaimer -
Any articles, templates, or information provided by Smartsheet on the website are for reference only. While we strive to keep the information up to date and correct, we make no representations or warranties of any kind, express or implied, about the completeness, accuracy, reliability, suitability, or availability with respect to the website or the information, articles, templates, or related graphics contained on the website. Any reliance you place on such information is therefore strictly at your own risk.