New Build Snag List Template

1. Preparation

Timing

Conduct inspections during daylight hours for visibility.

Tools

Bring a flashlight, measuring tape, notepad, camera, and a spirit level.

Documents

Keep floor plans and specifications handy for reference.

| 2. Exterior Inspection |  |
| --- | --- |
| Roof |  |
| Are roof tiles securely fixed and aligned? |  |
| Images | Comments |
| Check for cracked or missing tiles |  |
| Images | Comments |
| Is the roof ridge capping properly sealed? |  |
| Images | Comments |
| Inspect the flashing around chimneys and vents for watertightness |  |
| Images | Comments |
| Are the gutters securely attached and clear? |  |

| 2. Exterior Inspection (continued) |  |
| --- | --- |
| Roof (continued) |  |
| Check for signs of roof leaks or water damage |  |
| Images | Comments |
| Are soffits straight and free of gaps? Are soffits fitted and free from debris? |  |
| Images | Comments |
| Is there adequate ventilation in the roof space? |  |
| Images | Comments |
| Are downspouts properly connected and clear? |  |
| Images | Comments |
| Inspect roof underlay for signs of wear |  |
| Images | Comments |
| Are roofing nails correctly fastened? |  |
| Images | Comments |
| Check for signs of moss or fungus |  |
| Images | Comments |

| Masonry |  |
| --- | --- |
| Cracks, uneven mortar, or discoloration in brickwork |  |
| Images | Comments |
| Any issues with locks and hinges |  |
| Images | Comments |
| Cracks, uneven mortar, or discoloration in brickwork |  |
| Images | Comments |
| Any gaps or drafts in seals |  |
| Images | Comments |
| Confirm ground slopes away from the house (min 2% gradient) |  |
| Images | Comments |
| 3. Interior Inspection |  |
| Walls and Ceilings |  |
| Cracks, bubbles, or uneven finishes in plaster |  |
| Images | Comments |
| Drips, streaks, or unpainted areas |  |
| Images | Comments |
| Corners: Use a spirit level to check for squareness |  |
| Images | Comments |

| Floors |  |
| --- | --- |
| Place a ball on the floor to check levelness; if it rolls, note slope |  |
| Images | Comments |
| Cracks, loose grout, or uneven edges in tiles |  |
| Images | Comments |
| Squeaks or gaps in floorboards |  |
| Images | Comments |
| Doors |  |
| Doors close fully without sticking |  |
| Images | Comments |
| Even spacing or gaps around frames |  |
| Images | Comments |
| 4. Systems and Finishes |  |
| All sockets checked |  |
| Images | Comments |
| Any issues with light switches and fixtures |  |
| Images | Comments |
| Taps tested for water pressure and leaks |  |
| Images | Comments |
| Drainage issues with toilet |  |
| Images | Comments |
| Thermal imaging to check heat distribution for radiators |  |
| Images | Comments |
| Heat distribution for radiators |  |
| Images | Comments |

| 5. Kitchen and Bathrooms |  |
| --- | --- |
| Alignment, handles, and scratches of cabinets |  |
| Images | Comments |
| Cracks, loose grout, or uneven edges in tiles |  |
| Images | Comments |
| 5. Kitchen and Bathrooms |  |
| Alarms and battery life of smoke/CO detectors |  |
| Images | Comments |
| Securely installed handrails |  |
| Images | Comments |
| Reporting Issues |  |
| Note: All issues should be reported to the builder within 2 weeks. Please record a requested deadline for completing fixes. |  |

DISCLAIMER Any articles, templates, or information provided by Smartsheet on the website are for reference only. While we strive to keep the information up to date and correct, we make no representations or warranties of any kind, express or implied, about the completeness, accuracy, reliability, suitability, or availability with respect to the website or the information, articles, templates, or related graphics contained on the website. Any reliance you place on such information is therefore strictly at your own risk.